

TECHNICAL SHEET

|  |  |
| --- | --- |
| **Designation** | **Barriers envelopes** |
| **Reference(s)** |

|  |  |
| --- | --- |
| **Designation** | **Reference** |
| n°0 (2 x 3 cm) | 3135784 |
| n°1 (4 x 3 cm) | 3135785 |
|  n°2 (3 x 4 cm) | 3135783 |

 |
| **Product picture** | pochettes capteurs |
| **Product description** | Single use protection covers for digital sensors. |
| **Characteristics and compositon**  | Protects digital sensors from degradation and deterioration and from the patient’s saliva through the seal. Easy tearing and disposal of the sensor.Available in 3 sizes: * n°0 (2 x 3 cm)
* n°1 (4 x 3 cm)
* n°2 (3 x 4 cm).
 |
| **Packaging** | Box of 100 protections (n°0 and n°1).Box of 300 protections (n°2). |
| **Shelf life**  | n.a |
| **Indications of use**  | Single use.  |
| **Legal information**  | Out of class |

 Version 2.2 Updated on the 15/11/2022 by RG