

TECHNICAL SHEET

|  |  |
| --- | --- |
| **Designation** | **Cheek retractors Medibase** |
| **Article Reference(s)** | Adult: 3135081Child: 3135080 |
| **Product picture** |  |
| **Product description** | - Cheek retractors extra resistant and flexible- Easy to set - Ideal for scaling, filling and setting brackets |
| **Sterilization instruction** | Rinse the disinfection materials thoroughly before autoclaving - We recommend the safety program of 121°C - Cycle up to 50x - Please avoid contact with metal instrument when autoclaving  |
| **Characteristics and compositon**  | - Made from high quality polycarbonate- Combines high flexibility with very high resistance- Autoclavable up to 121°C during 15 min- Dimensions : - adult : 13 cm wide et 9 cm long - child : 9.5 cm wide et 7.5 cm long- Available in two sizes: adult and childStore the product in preference in a dry place |
| **Packaging** | - Box of 2 cheek retractors – adult - Box of 2 cheek retractors – child  |
| **Shelf life**  | n.a |
| **Indications of use**  | n.a |
| **Legal information**  | Medical Device of class I CE MarkingManufacturer: LARIDENT S.R.L. |

Version 5.0 Updated 2022/11/15 by RG