

TECHNICAL SHEET

|  |  |
| --- | --- |
| **Designation** | **Cold bags** |
| **Reference(s)** | |  |  |  | | --- | --- | --- | | **Format** | **Size** | **References** | | Non woven | 13 x 17 cm | 3107174 | | Plastic | 13 x 17 cm | 3107175 | |
| **Product picture** |  |
| **Product description** | These cold bags will releave the patient’s pain. |
| **Characteristics and compositon** | * Easy to use: a simple pressure on the bag’s center allows to reach a temperature up to - 4°C during 30 minutes. * Easy to store: can be kept at room temperature. * Available in 2 patterns: non-woven and plastic. |
| **Packaging** | Box of 10 bags |
| **Shelf life** | 60 Months |
| **Legal information** | Class: IIA.  CE Marking 0546. CERTICHIM Notified body.  Manufacturer: Dispotech |

Version 2.0 Date: 15/11/2022 by RG