

TECHNICAL SHEET

|  |  |
| --- | --- |
| **Designation** | **Disposable dental mirrors** |
| **References** | |  |  |  | | --- | --- | --- | | **Color** | White | Assorted (pink, blue, white, green, yellow) | | **Reference** | 3125101 | 3125100 | |
| **Product picture** | Assorted mirors new picture |
| **Product description** | Mirrors N ° 5 - Outside diameter: 24 mm  Single use only. |
| **Characteristics and composition** | * Each mirror is individually wrapped * Each mirror is protected by a plastic "Peel off" to avoid any scratches * Lightweight, with anti-slip system * Mirror: * Diameter: 20 mm + 0.15 / 0.20 mm * Thickness: 1.4 mm ± 0.1 mm |
| **Packaging** | Economic box of 100 mirrors: white or colors. |
| **Shelf life** | n.a |
| **Indications of use** | n.a |
| **Legal informations** | Class I medical device  Manufacturer: CDM CENTER OF EXCELLENCE LTD. |

Version 2.3 Updated the 15/11/2022 by RG