

TECHNICAL SHEET

|  |  |
| --- | --- |
| **Designation** | **Disposable dental mirrors** |
| **References** |

|  |  |  |
| --- | --- | --- |
| **Color** | White | Assorted (pink, blue, white, green, yellow) |
| **Reference** | 3125101 | 3125100 |

 |
| **Product picture** | Assorted mirors new picture |
| **Product description**  | Mirrors N ° 5 - Outside diameter: 24 mmSingle use only. |
| **Characteristics and composition**  | * Each mirror is individually wrapped
* Each mirror is protected by a plastic "Peel off" to avoid any scratches
* Lightweight, with anti-slip system
* Mirror:
* Diameter: 20 mm + 0.15 / 0.20 mm
* Thickness: 1.4 mm ± 0.1 mm
 |
| **Packaging** | Economic box of 100 mirrors: white or colors. |
| **Shelf life** | n.a |
| **Indications of use** | n.a |
| **Legal informations**  | Class I medical device Manufacturer: CDM CENTER OF EXCELLENCE LTD. |

Version 2.3 Updated the 15/11/2022 by RG