TECHNICAL SHEET

| Designation | Disposable scalpel |
| --- | --- |
| References | N°10; N°11; N°12; N°15. 3131617; 3131618; 3131619; 3131620. |
| Product picture | N°10. N°11. N°12. N°15. |
| Product description | Disposable scalpel |
| Characteristics and composition | - Efficiency Excellent cutting precision - Taken in hand safe and effective Plastic handle anatomically designed - Resistance Perfect junction between the blade and the handle - High quality Stainless Steel blade - Safety Protection lid - Sterilized by Gamma irradiation - Available in 4 model |
| Packaging | Packaged under individual blister pack |
| Shelf life | 5 years |
| Indications d’utilisation |  |
| Informations légales | Medical device of class IIa Marking CE2460- Certifying body: DNV GL NEMKO PRESAFE AS Manufacturer: RAZORMED INC. |

Version 2.0 					Updated the 14/11/2022 by RG