| Designation | Powder-free latex finger cots |
| --- | --- |
| Reference(s) | Size | S | M | L | XL |
|  | Reference | 3160736 | 3160737 | 3160738 | 3160739 |
|  | UDI-DI | 06958627514209 | 06958627514216 | 06958627514223 | 06958627514230 |
| Visual |  |
| Description | Single-use, non-sterile, powder-free finger cot to protect the finger, probe or sensor during medical examinations. |
| Specifications and technical data | Sizes S M L XL Tolerance Width (mm) 24 28 30 34.5 +/- 2 mm Length (mm) 70 +/- 5 mm Thickness (mm) 0.09 +/- 0.03 mm Average weight (g) 0.41 0.46 0.52 0.58 +/- 0.02 g Test Spéc. Reference standard Tensile strength (Mpa) ≥ 24 ASTM D3772/D412 Elongation at break (%) ≥ 750 |
| Packaging | Bag of 100 finger cots carton of 100 bags |
| Shelf life | 5 years |
| Indications for use |  |
| Legal information | Class I medical device under MDR regulation 2017/745 CE mark - Manufacturer: Ningbo Greetmed Medical Instruments Co, Ltd. |

Version 1.0  					Date : Updated 31/10/2023 by LF

# Text boxes

DATA SHEET