

TECHNICAL SHEET

|  |  |
| --- | --- |
| **Product** | **DISPOSABLE SYRINGES** |
| **Reference** | 3124778 |
| **Picture** |  |
| **Description** | Single-use syringe used for all types of impression materials. |
| **Characteristics & Technical data** | Syringe with swivel tip.- Volume: 5 ml- Diameter: 12.1 mm ± 0.2 mm- Length: 84 mm ± 1 mm |
| **Storage** | Box of 50 syringes |
| **Shell life** | C:\Users\PCMPROPRE2\Desktop\Capture1.PNG C:\Users\l_decaudin\Pictures\logo ref.PNG |
| **Legal Information** | Class I medical deviceCE markingManufacturer : DEPRO AB |

 **Version 2.1 Updated the 15/11/2022 RG**