

TECHNICAL SHEET

|  |  |
| --- | --- |
| **Product Designation** | **NEEDLES FOR ENDODONTIC CANAL IRRIGATION** |
| **Reference** | 3125099 |
| **Product picture** | MED0116015_Boite_Aiguilles |
| **Product description** | * Needles for endodontic canal irrigation, individually packed, for single use
 |
| **Characteristics and composition** | * **Luer-Lock** fixationfor a safe fixation : avoid the loosening of the needle during the rinsing, compared to the clipped needles
* Garter **stitch**
* Efficient with a **rebound effect** : the resistance moves out the remains of the canal
* Gauge/diameter: 30G – 0,30 mm
* Length : 23 mm
 |
| **Packaging** | box of 100 needlesEach needle is packed individually |
| **Shelf life** | 5 years from the manufactured date  |
| **Indications of use** |   |
| **Legal information** | Medical Device of class I sterile under European Directive 93/42/EEC including Directive 2007/47/CECE Marking-0197-TUV RHEINLANDManufacturer : CDM CENTER OF EXCELLENCE LTD |

Version 3.0 Mise à jour 14/11/2022 par RG