TECHNICAL SHEET

| Designation | Hydrophilic gauze swabs non sterile Medibase |
| --- | --- |
| Reference(s) | 3131818 |
| Product picture |  |
| Product description | Pure cotton gauze swabs in 17 threads Number of threads; Number of thickness; Folded dimensions; Unfolded dimensions. 17; 8; 5 x 5 cm; 14 x 20 cm. |
| Characteristics and composition | - Perfectly white without pigment - No waste of combing or other Possible to sterilize with: Vapour, Ethylene Oxide, Radiation |
| Packaging | 10 packs of 100 swabs each (1 000 swabs) |
| Shelf life | 5 years |
| Indications of use |  |
| Legal information | Medical Device of class I CE Marking Manufacturer: SYLAMED |

Version 2.0						Updated 14/11/2022 by RG