

FICHE TECHNIQUE

|  |  |
| --- | --- |
| **Designation** | **Gingival Curettage** |
| **References** |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Description** | S5 | T3 | S3 | S1 |
| **Code** | 878K | 878K | 879K | 879K |
| **ISO** | 015 | 018 | 013 | 015 |
| **LW (mm)** | 8 | 8 | 9,5 | 9,5 |
| **TL (mm)** | 20,5 | 20 | 22 | 22 |
| **Ref. Coarse** | 3138056 | 3138057 | 3138055 | 3138054 |

 |
| **Product Picture** |  |
| **Product Description** | Sterile burs: convenient and time-saving |
| **Characteristics** | * Sterile burs for maximum hygiene: no risk of cross contamination.
* Sterilized by gamma radiation: ready to use!

– Checked individually, controlled manufacturing guaranteed. |
| **Packaging** | Box of 25 burs |
| **Shelf life** | 3 years from the date of manufacture |
| **Legal information** | Class: IIA.CE Marking 0483. ICIM S.p.A Notified body. Manufacturer: STRAUSS & CO. |

Version 2 .2 Updated the 15/11/2022 by RG