TECHNICAL SHEET

| Designation | Perforated plastic impression tray Medibase |
| --- | --- |
| Reference(s) | Type; Upper; Lower; Upper/Lower; Assorted. Size; Large; Medium; Small; Large; Medium; Small; Upper left / Lower right; Upper right/ Lower Left; Anterior. Ref; 3135484; 3135483; 3135490; 3135482; 3135481; 3135489; 3135487; 3135486; 3135488; 3135485. Size A* (mm); 70; 65; 60; 73; 70; 67; 56; 56; 58. Size B* (mm); 60; 55; 50; 60; 52; 50; 50; 50; 34. |
| Visual |  |
| Description | Disposable plastic impression trays with excellent retention, handling and rigidity. |
| Characteristics and compositon | - Perforated - Excellent retention - Hard plastic - Easy to use - Cold disinfection |
| Packaging | Available in 9 sizes + 1 assorted pack. |
| Shelf life | n.a |
| Indications of use |  |
| Legal information | Medical device of Class 1 Manufacturer: FOMED Industries Inc |

Version 1.2					                                  Updated 15/11/2022 by RG