|  |  |
| --- | --- |
| **Designation** | **Micro-applicators** |
| **References** |

|  |  |  |  |
| --- | --- | --- | --- |
| **SIZE** | **COLOR** | **PACKAGING** | **REFERENCE** |
| **REGULAR** | BLUE | Box of 4 tubes each containing 100 micro-applicators | 3101006 |
| BLUE/PINK | 3101007 |
| BLUE/ORANGE | 3101008 |
| **FINE** | BLACK | Tube of 100 micro-applicators | 3101009 |
| **SUPER FINE** | WHITE | 3101010 |

 |
| **Product picture** |  MED0517099_Visuels_Brossettes_Noir+Bleu+Blanc |
| **Product description**  | Disposable micro-applicators with foldable head. |
| **Characteristics and composition**  | Polypropylene handle, with breakable tip: allows to differentiate the micro-Applicators between them!Nylon bristles.Overall length: 102 mmTube packaging: hygienic dispensing |
| **Packaging** | REGULAR: box of 4 tubes each containing 100 micro-applicatorsFINE / SUPER FINE: tubes of 100 micro-applicators |
| **Shelf life** | N/A |
| **Indication of use**  |  Regular fibers, non-absorbent and lint-free. The solutions are held in suspension between the fibers to prevent dripping and allow perfect application. Easy access to all areas of application thanks to the foldable head.Disposable: discard after use.For use with silanes, adhesives, etching gel, hemostatic solutions, cavity bottoms and plaque developers.Store away from light and dust in a cool, dry place. |
| **Legal informations**  | Class I medical device Manufacturer: AKZENTA INTERNATIONAL CHINA |

Version 1.2 Updated the 15/11/2022 by RG

TECHNICAL SHEET