|  |  |
| --- | --- |
| **Designation** | **Micro-applicators** |
| **References** | |  |  |  |  | | --- | --- | --- | --- | | **SIZE** | **COLOR** | **PACKAGING** | **REFERENCE** | | **REGULAR** | BLUE | Box of 4 tubes each containing 100 micro-applicators | 3101006 | | BLUE/PINK | 3101007 | | BLUE/ORANGE | 3101008 | | **FINE** | BLACK | Tube of 100 micro-applicators | 3101009 | | **SUPER FINE** | WHITE | 3101010 | |
| **Product picture** | MED0517099_Visuels_Brossettes_Noir+Bleu+Blanc |
| **Product description** | Disposable micro-applicators with foldable head. |
| **Characteristics and composition** | Polypropylene handle, with breakable tip: allows to differentiate the micro-Applicators between them!  Nylon bristles.  Overall length: 102 mm  Tube packaging: hygienic dispensing |
| **Packaging** | REGULAR: box of 4 tubes each containing 100 micro-applicators  FINE / SUPER FINE: tubes of 100 micro-applicators |
| **Shelf life** | N/A |
| **Indication of use** | Regular fibers, non-absorbent and lint-free. The solutions are held in suspension between the fibers to prevent dripping and allow perfect application. Easy access to all areas of application thanks to the foldable head.  Disposable: discard after use.  For use with silanes, adhesives, etching gel, hemostatic solutions, cavity bottoms and plaque developers.  Store away from light and dust in a cool, dry place. |
| **Legal informations** | Class I medical device  Manufacturer: AKZENTA INTERNATIONAL CHINA |

Version 1.2 Updated the 15/11/2022 by RG

TECHNICAL SHEET