| Designation | Non woven swabs, non sterile Medibase |
| --- | --- |
| Reference(s) | 3131819 |
| Product picture |  |
| Product description | Do not realise fibers when cleaning wounds Good skin tolerance, even for sensitive skin Compatible with antiseptic solutions and ether. Homogeneous structure allowing a sensation of softness in contact with the skin and a low risk of fraying. Absence of allergenic chemical binder Weight/m² Number of thickness Folded dimensions Unfolded dimensions 40 g 4 5 x 5 cm x 10 cm |
| Characteristics and compositon | Composition: 70% viscose - 30% polyester Possible to sterilize with: Vapour, Ethylene Oxide, Radiation |
| Packaging | Box of 1 000 swabs (10 packs of 100 swabs) |
| Shelf life | 5 years |
| Indications of use |  |
| Legal information | Medical Device of class I CE Marking Manufacturer: SYLAMED |

Version 2.0						   Updated 14/11/2022 by RG

# Text boxes

TECHNICAL SHEET