

TECHNICAL SHEET

|  |  |
| --- | --- |
| **Product** | **PHOTO RETRACTORS** |
| **Reference** | Adult : 3135082  Infant : 3135084 |
| **Picture** | P:\Marketing\2 MKG M-Propres\VISUELS PHOTOS\MEDIBASE\Ecarteurs\Ecarteurs photo.jpg |
| **Description** | With an extra-long handle, it is ideal for clinical photography |
| **Sterilization advice** | Rinse disinfectants thoroughly before autoclaving.  - Autoclavable at 134°C for 18 min.  - Cycle: up to 50 x  - Do not put metal in contact in the autoclave |
| **Characteristics & Technical data** | - Non-reflective  - Made of high-quality polycarbonate  - Sterilizable in autoclave at 134 ° C for 18 min  - Available in two sizes: adult and child  Store the product preferably in a dry place. |
| **Storage** | - Box of 2 adult cheeks retractors  - Box of 2 child cheeks retractors |
| **Garantee** | More or less 5 years depending on the number of sterilization cycles. |
| **Shell life** | n.a |
| **Legal Information** | Class I medical  CE marking  Manufacturer: LARIDENT S.R.L. |

Version 2.2 Updated 15/11/2022 by RG