| Designation | Saliva ejectors – fixed tips |
| --- | --- |
| References | Colours | transparent | white |
|  | Reference | 3135200 | 3135201 |
| Product Picture |  |
| Product description | Easy shaping because of copper wire reinforcement - Tips : small, smooth and rounded - Ideal for all uses, even on irritated walls - Diameter : 6,5 mm - Lenght : 15 cm |
| Characteristics and composition | Made from PVC |
| Packaging | - Store at room temperature in a dry and ventilated area - Plastic bag of 100 units |
| Shelf life | 5 years from the date of manufacture |
| Indications of use |  |
| Legal information | Medical Device of class IIA CE marking- 0051-IMQ S.p.A Manufacturer: ASA DENTAL |

Version 1.2      					                              Updated on the 15/11/2022 by RG

# Text boxes

TECHNICAL SHEET