TECHNICAL SHEET

| Designation | Saliva ejectors – removable tips |
| --- | --- |
| Reference(s) | Colours; Translucent; Blue; Green; Orange; Pink. Reference; 3127251; 3127252; 3127253; 3127254; 3127255. |
| Product picture |  |
| Product description | Formatting easy; because armed with a copper metallic wire. Tips; removable, little, smooth, rounded. Use; ideal for all uses, even on irritated mucous membranes. Diametre; 6.5 mm. Length; 15 cm. |
| Characteristics and compositon | Made from PVC |
| Packaging | - Store at room temperature in a dry and ventilated area - Plastic bag of 100 units |
| Shelf life | n.a |
| Indications of use |  |
| Legal information | Medical Device of class IIA CE 0051 Marking- Organismo de certificación: IMQ S.p.A Manufacturer: EURONDA |

Version 1.2						Updated 15/11/2022 by RG