

TECHNICAL SHEET

|  |  |
| --- | --- |
| **Product** | **Special Shapes & Inverted Cones** |
| **Reference** |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Description** | BR1 | B1 | AB1 | E42 |
| **Code** | 652 | 805 | 830 | 889 |
| **ISO** | 018 | 012 | 016 | 010 |
| **LWP (mm)** | 8 | 1,3 | 2,5 | 4 |
| **2TL (mm)** | 19,5 | 19 | 19 | 23 |
| **Ref. Coarse** | 3138062 | 3138069 | 3138449 | 3138647 |
| **Ref. Medium** | - | 3138450 | - | 3138648 |
| **Ref. Fine** | - | - | - | 3138646 |

 |
| **Picture** | C:\Users\PCMPROPRE4\Desktop\66-343.jpg |
| **Characteristics & composition** | * Sterile burs for maximum hygiene: no risk of cross contamination.
* Sterilized by gamma radiation: ready to use!

– Checked individually, controlled manufacturing guaranteed |
| **Packaging** | Box of 25 burs. |
| **Shelf life** |  |
| **Legal informations** | Class: IIA.CE Marking 0483. ICIM S.p.A Notified body.Manufacturer: STRAUSS & CO. |

 Version 2.2 Updated the 15/11/2022 by RG