

TECHNICAL SHEET

|  |  |
| --- | --- |
| **Product** | **Special Shapes & Inverted Cones** |
| **Reference** | |  |  |  |  |  | | --- | --- | --- | --- | --- | | **Description** | BR1 | B1 | AB1 | E42 | | **Code** | 652 | 805 | 830 | 889 | | **ISO** | 018 | 012 | 016 | 010 | | **LWP (mm)** | 8 | 1,3 | 2,5 | 4 | | **2TL (mm)** | 19,5 | 19 | 19 | 23 | | **Ref. Coarse** | 3138062 | 3138069 | 3138449 | 3138647 | | **Ref. Medium** | - | 3138450 | - | 3138648 | | **Ref. Fine** | - | - | - | 3138646 | |
| **Picture** | C:\Users\PCMPROPRE4\Desktop\66-343.jpg |
| **Characteristics & composition** | * Sterile burs for maximum hygiene: no risk of cross contamination. * Sterilized by gamma radiation: ready to use!   – Checked individually, controlled manufacturing guaranteed |
| **Packaging** | Box of 25 burs. |
| **Shelf life** |  |
| **Legal informations** | Class: IIA.  CE Marking 0483.  ICIM S.p.A Notified body.  Manufacturer: STRAUSS & CO. |

Version 2.2 Updated the 15/11/2022 by RG