

TECHNICAL SHEET

|  |  |
| --- | --- |
| **Product Designation** | **DISPOSABLE SYRINGES FOR SINGLE-USE** |
| **Reference** | |  |  |  |  |  | | --- | --- | --- | --- | --- | | **Content** | 2,5 ML | 5 ML | 10 ML | 20 ML | | **Reference** | 3125103 | 3125105 | 3125102 | 3125104 | |
| **Product picture** |  |
| **Product description** | * Disposable syringes for single-use for endodontic canal irrigation |
| **Characteristics and composition** | * Luer-lock thread for a safe fixation of the needle * Latex free piston * Sterile individual package |
| **Packaging** | |  |  |  | | --- | --- | --- | | **Content** | **Graduation** | **Number of serynges per box** | | 2.5 ML | 0.1 ML | 100 | | 5 ML | 0.2 ML | 100 | | 10 ML | 0.5 ML | 100 | | 20 ML | 1 ML | 80 | |
| **Shelf life** | 5 years from the manufactured date |
| **Indications of use** | P:\Marketing\2 MKG MP Exclusive\QUALITE\SYMBOLES EN980 ET PHRASES R&S et P&H&EUH ET NORMES\JPEG SYMBOLES\NF EN 980 2008 FA139783_Page_24_Image_0001.jpgP:\Marketing\2 MKG MP Exclusive\QUALITE\SYMBOLES EN980 ET PHRASES R&S et P&H&EUH ET NORMES\JPEG SYMBOLES\NF EN 980 2008 FA139783_Page_13_Image_0001.jpgP:\Marketing\2 MKG MP Exclusive\QUALITE\SYMBOLES EN980 ET PHRASES R&S et P&H&EUH ET NORMES\JPEG SYMBOLES\NF EN 980 2008 FA139783_Page_24_Image_0002.jpg |
| **Legal information** | Medical Device of class IIA  CE Marking- 0197-TUV RHEINLAND  Manufacturer: CDM CENTER OF EXCELLENCE LTD |

Version 1.2

Updated 15/11/2022 by RG