TECHNICAL SHEET

| Designation | Hydrophilic gauze swabs sterile Medibase |
| --- | --- |
| Reference(s) | 3135500 |
| Product picture |  |
| Product description | - Dimensions folded: 5*5 cm - Number of threads: 17 - Number of plies: 12 - Sterilisation: Ethylene Oxide |
| Characteristics and compositon | - Dimensions folded: 5*5 cm - Number of threads: 17 - Number of plies: 12 - Sterilisation: Ethylene Oxide |
| Packaging | Carton of 100 swabs (50 sterile pouches of 2 swabs) |
| Shelf life | 5 years |
| Indications of use |  |
| Legal information | Medical Device of class I CE 0123 Marking- Certifying body: TUV PRODUCT SERVICE Manufacturer: FOMED Industries Inc |

Version 2.0						Updated 14/11/2022 by RG