TECHNICAL SHEET

| Designation | Hydrophilic gauze swabs sterile Medibase |  |  |
| --- | --- | --- | --- |
| Reference(s) | Conditioning | 50 blisters of 2 swabs | 40 blisters of 2 swabs |
|  | Dimensions | 5 x 5 cm | 7.5 x 7.5 cm |
|  | Reference | 3135500 | 3135504 |
| Product picture |  |  |  |
| Product description | Pure cotton gauze swabs. - Number of threads: 17 - Number of plies: 12 - Sterilisation: Ethylene Oxide |  |  |
| Characteristics and composition | - Perfectly white with no colouring matter - No combing or other waste |  |  |
| Packaging | Box of 100 swabs: 50 sterile blisters of 2 swabs. Box of 80 swabs: 40 sterile blisters of 2 swabs. |  |  |
| Shelf life | 5 years |  |  |
| Indications of use |  |  |  |
| Legal information | Medical Device of class I sterile CE 0123 Marking- Certifying body: TUV PRODUCT SERVICE Manufacturer: FOMED Industries Inc |  |  |

Version 2.1						Updated 03/01/2024