| Designation | Hydrophilic gauze swabs sterile Medibase |
| --- | --- |
| Reference(s) | Conditioning | 50 blisters of 2 swabs | 40 blisters of 2 swabs |
|  | Dimensions | 5 x 5 cm | 7.5 x 7.5 cm |
|  | Reference | 3135500 | 3135504 |
| Product picture |  |
| Product description | Pure cotton gauze swabs. Number of threads: 17 Number of plies: 12 Sterilisation: Ethylene Oxide |
| Characteristics and composition | Perfectly white with no colouring matter No combing or other waste |
| Packaging | Box of 100 swabs: 50 sterile blisters of 2 swabs. Box of 80 swabs: 40 sterile blisters of 2 swabs. |
| Shelf life | 5 years |
| Indications of use |  |
| Legal information | Medical Device of class I sterile CE 0123 Marking- Certifying body: TUV PRODUCT SERVICE Manufacturer: FOMED Industries Inc |

Version 2.1						Updated 03/01/2024

# Text boxes

TECHNICAL SHEET