TECHNICAL SHEET

| Designation | Sterile needles Medibase (100) |
| --- | --- |
| Reference(s) | Description; G; Ø; Longueur; Reference. Périapicales; Extra-fine; 30 G; 0,30; 16 mm; 3114384. Extra-fine; 30 G; 0,30; 21 mm; 3114385. Fine; 27 G; 0,40; 8 mm; 3114386. 25G; 0,50; 36 mm; 3114387. 27 G; 0,40; 21 mm; 3114388. Intraseptales; Fine; 27 G; 0,40; 16 mm; 3114389. Intraligamentaire; Extra-fine; 30 G; 0,30; 12 mm; 3114390. Tronculaires; Extra-fine; 30 G; 0,30; 25 mm; 3114391. |
| Visual |  |
| Description | Sterile needles for single use |
| Features and Technical Data | - Excellent quality, with silicone coating - Triple bevel for a gentle injection - Sterile with sterilization control ring - With bevel indicator - Sterilized with ethylene oxide - Cannula: stainless steel - Plastic part: polypropylene (PP) - Lubricant: silicone |
| Packaging | Box of 100 needles |
| Lifetime | 5 years from the date of manufacture |
| Indications of use |  |
| legal informations | Class IIA medical device CE Marking 0426. ITALCERT Notify body Manufacturer: TECNOFAR SPA |

Version 3.0					                   Update 14/11/2022 RG