TECHNICAL DATASHEET

| Designation | Sterile non-woven swabs Medibase |  |  |  |
| --- | --- | --- | --- | --- |
| Reference(s) | Size | 5x5 cm | 5x5 cm | 7,5x7,5 cm |
|  | Box of | 150 swabs | 250 swabs | 80 swabs |
|  | Internal conditioning | 75 pouches of 2 swabs | 50 pouches of 5 swabs | 40 pouches of 2 swabs |
|  | Reference | 3135502 | 3135501 | 3135503 |
| Product picture |  |  |  |  |
| Product description | Non-woven swabs Medibase packed under sterile pouches |  |  |  |
| Characteristics and composition | Swabs 60% viscose / 40% polyester - Number of plies : 4 - Sterilisation : ethylene oxide |  |  |  |
| Packaging | Available in two sizes (5x5 cm and 7,5x7,5 cm) and three conditioning |  |  |  |
| Shelf Life | 5 years |  |  |  |
| Indications of use |  |  |  |  |
| Legal information | Medical Ofvice of class I CE 0123 Marking. Certifying body: TUV PRODUCT SERVICE Manufacturer: FOMED Industries Inc |  |  |  |

Version 2.0					Date : 14/11/2022 RG