

TECHNICAL DATA SHEET

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Designation** | **STERILIZATION ROLLS** | | | | | | |
| **References** | 5 cm | 7,5 cm | 10 cm | 15 cm | 20 cm | 25 cm | 20 cm wide-sided depth 5,5 cm |
| 3134962 | 3134963 | 3134964 | 3134965 | 3134966 | 3134967 | 3134968 |
| **Visual** |  | | | | | | |
| **Description** | Sterilization pouches in roll of 200 m, available in 6 different widths + one size wide-sided (roll of 100m). | | | | | | |
| **Characteristics** | Medical paper: 60 grams  PET films: 12/30 of blue color (12/40 for the girdle with bellows)  Every roll is individually packed under plastic film.   * Temperature of sealing of the bag: 170°C-200°C * Steam sterilization   + 121°C in 134°C   + Indicators turn pink to brown * Sterilization with oxide of Ethylene   + 30°C in 54°C   + Indicators turn green to yellow * In accordance with the standards:   + 868:5   + ISO 11607: 1-2   + ISO 1140-1 | | | | | | |
| **Storage** | KEEP IN DRY PLACE, KEEP AWAY FROM SUNLIGHT  DO NOT USE IF PACKAGING IS DAMAGED | | | | | | |
| **Shelf-life** | 5 years from the date of manufacture | | | | | | |
| **Legal information** | Medical device: class I  CE MARKING  Manufacturer: E-LINE | | | | | | |

Version 3.1, updated by RG Date: 15/11/2022