

TECHNICAL DATA SHEET

|  |  |
| --- | --- |
| **Designation** | **STERILIZATION ROLLS** |
| **References** | 5 cm | 7,5 cm | 10 cm | 15 cm | 20 cm | 25 cm | 20 cm wide-sided depth 5,5 cm |
| 3134962 | 3134963 | 3134964 | 3134965 | 3134966 | 3134967 | 3134968 |
| **Visual** |  |
| **Description** | Sterilization pouches in roll of 200 m, available in 6 different widths + one size wide-sided (roll of 100m). |
| **Characteristics** | Medical paper: 60 gramsPET films: 12/30 of blue color (12/40 for the girdle with bellows)Every roll is individually packed under plastic film.* Temperature of sealing of the bag: 170°C-200°C
* Steam sterilization
	+ 121°C in 134°C
	+ Indicators turn pink to brown
* Sterilization with oxide of Ethylene
	+ 30°C in 54°C
	+ Indicators turn green to yellow
* In accordance with the standards:
	+ 868:5
	+ ISO 11607: 1-2
	+ ISO 1140-1
 |
| **Storage** | KEEP IN DRY PLACE, KEEP AWAY FROM SUNLIGHTDO NOT USE IF PACKAGING IS DAMAGED  |
| **Shelf-life**  | 5 years from the date of manufacture |
| **Legal information** | Medical device: class I CE MARKINGManufacturer: E-LINE |

Version 3.1, updated by RG Date: 15/11/2022