

TECHNICAL SHEET

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Product** | SUPRATRAYS | | | | | | |
| **Reference** | QUADRANT | POSTERIEUR | ANTERIEUR | FULL ARCH | SIDELESS | QUADRANT RENF. METAL | POSTERIEUR RENF. METAL |
| 3134514 | 3134513 | 3134511 | 3134512 | 3134515 | 3134517 | 3134516 |
| **Number of pcs per box** | 36 pcs | 36 pcs | 32 pcs | 28 pcs | 48 pcs | 36 pcs | 36 pcs |
| **GTIN** | 03665318008772 | 03665318008789 | 03665318008802 | 03665318008796 | 03665318008765 | 03665318008741 | 03665318008758 |
| **Picture** | Une image contenant sport athlétique, sport  Description générée automatiquementUne image contenant texte  Description générée automatiquement | | | | | | |
| **Description** | Complete range of single-use impression trays for high quality footprints with ease. | | | | | | |
| **Characteristics & Technical data** | * Specially designed walls for extra retention. * Easy handling and wide occlusal plane for easy access to all areas. * High quality mesh, hard and resistant plastic. * Easier access to difficult areas thanks to the thin metal reinforcement. * Unrivalled firmness on single-use impression trays. | | | | | | |
| **Storage** | N/A | | | | | | |
| **Indications of use** | Capture1 | | | | | | |
| **Shelf life of the product** | N/A | | | | | | |
| **Legal Information** | Class I medical device. Manufacturer JOVIDENT INT. BV | | | | | | |