TECHNICAL SHEET

| Designation | Medibase brush holders |
| --- | --- |
| Reference(s) | 3134142 |
| Product picture |  |
| Product description | Plastic brush holders, cold sterilisation. |
| Characteristics and compositon | - Cold sterilisation - Ergonomic, easy grip - Combines spatula mouth - Length: 147.50 mm (+/- 1 mm) - Polypropylene – 99% - Cadmium free pigments – 1% |
| Packaging | - Pack of 10 plastic holders |
| Shelf life | n.a |
| Indications of use |  |
| Legal information | Medical Device of class I under European Directive 93/42/EEC including Directive 2007/47/CE Manufacturer: NOVOBRUSH |

Version 1.1						    Updated 15/11/2022 by RG