

TECHNICAL SHEET

|  |  |
| --- | --- |
| **Designation** | **Sterile Cannulas 2.5 mm MEDIBASE (20 cannulas + 2 adapters)** |
| **Reference(s)** | 3149405 |
| **UDI-DI** | 03700425946972 |
| **Visual** |  |
| **Description** | Sterile single-use surgical suction cannulas with detachable tips. |
| **Characteristics and Technical Data** | Composition: PVCEach cannula is individually packed in a sterile pouch: - Hygienic - Time-savingThe shape and length of the cannula and tip offer the following advantages:- Precise suction- Clear field of vision- Access to narrow areasThe tip is removable, allowing switching from a 2.5mm diameter suction (with tip) to a 4.8mm diameter suction (without tip).Each box contains two double adapters for connection to 11/16mm tubes.The double adapters are supplied non-sterile and can be sterilized at 134°C.The sterilization method used is ethylene oxide. |
| **Packaging** | Box of 20 cannulas + 2 double adapters.Carton of 20 boxes. |
| **Shelf life**  | 3 years from the manufacturing date. |
| **Indications for use**  |  |
| **Legal information**  | Medical device of Class IIA under the European Directive 93/42/EECCE Marking 0197 - TUV RHEINLAND |

Version 1.0 Updated 07/08/2023 by LF