

TECHNICAL SHEET

|  |  |
| --- | --- |
| **Designation** | **Sterile Cannulas 2.5 mm MEDIBASE (20 cannulas + 2 adapters)** |
| **Reference(s)** | 3149405 |
| **UDI-DI** | 03700425946972 |
| **Visual** |  |
| **Description** | Sterile single-use surgical suction cannulas with detachable tips. |
| **Characteristics and Technical Data** | Composition: PVC  Each cannula is individually packed in a sterile pouch:  - Hygienic  - Time-saving  The shape and length of the cannula and tip offer the following advantages:  - Precise suction  - Clear field of vision  - Access to narrow areas  The tip is removable, allowing switching from a 2.5mm diameter suction (with tip) to a 4.8mm diameter suction (without tip).  Each box contains two double adapters for connection to 11/16mm tubes.  The double adapters are supplied non-sterile and can be sterilized at 134°C.  The sterilization method used is ethylene oxide. |
| **Packaging** | Box of 20 cannulas + 2 double adapters.  Carton of 20 boxes. |
| **Shelf life** | 3 years from the manufacturing date. |
| **Indications for use** |  |
| **Legal information** | Medical device of Class IIA under the European Directive 93/42/EEC  CE Marking 0197 - TUV RHEINLAND |

Version 1.0 Updated 07/08/2023 by LF